## Procedures
Hose testing guidelines
Step #1: | Lay line up to 300 feet and record ID numbers.
Step #2: | Connect truck to water supply / hose tester.
Step #3: | Attach nozzle (mark hose couplings).
Step #4: | Fill lines and get normal water flow.
Step #5: | Bleed all air from the hose prior to increasing to test pressures.
Step #6: | Reduce pressure and close nozzles; check couplings for looseness or leaks.
Step #7: | Raise pressure to 300 psi for attack hose and 200 psi for LDH and hold for 5 minutes (or to the manufactures recommended psi).
Step #8: | Reduce pressure and drain lines.
Step #9: | Check for coupling slips. Tag bad sections.
Step #10: | Document findings.
For a full list of procedures refer to the National Fire Protection Association (NFPA) 1962, Standard for the Care, Use, Inspection, Service Testing, and Replacement of Fire Hose, Couplings, Nozzles, and Fire Hose Appliance provides guidance on acceptable procedures.
For Maximum credit from the Insurance Services Office, perform hose tests annually.

## Hose ID
Hose ID

## Log
Hose ID | Location | Test date | Hose size | Manufacturing date | Test pressure | Hose Condition | Pass/fail | Notes
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.
This shape represents a table slicer. Table slicers are not supported in this version of Excel. If the shape was modified in an earlier version of Excel, or if the workbook was saved in Excel 2007 or earlier, the slicer can't be used.

## Sheet1 (hidden)
Hose ID | Location | Test date | Hose size | Manufacturing date | Test pressure | Hose Condition | Pass/fail | Notes